Website:  www.aerobiology.net

Sewage Screen Test Code 1028(P/A) - E.coli, Fecal Coliforms and Enterococci

Sewage screen testing allows simultaneous testing for the presence or absence of fecal coliform bacteria, E.coli and Fecal Streptococci or Enterococci. ColitagTM can detect fecal coliforms and E.coli bacteria at 1 cfu/ml within 24 hours even with as many as 2 million heterotrophic bacteria per 100 ml present. The EnterolertTM can detect fecal Streptococci or Enterococci at 1cfu/ml within 24 hrs per 100 ml of the sample present. Water, wipes and bulk samples can be used for testing.

We do not except samples on Fridays due to the 24-hour test period and the laboratory is not open on the weekends. Weekend work must be pre-arranged with additional fees.

For water samples:

- For each sampling location, 2 bottles (100ml+100ml) are required for testing.

- Obtain sterile containers (100ml) from Aerobiology.

- Collect 100 ml of water from the tap or reservoir in each of sterile containers making sure the inside of the container is not contaminated by the collector.

- Complete the requisition including the name of the person collecting, the date and time of collection, and location of the sample.

- Keep the samples in a cooler and with an ice pack for transportation to the laboratory.

- The water sample must reach the laboratory within 24 hours of collection or the sample will be deemed invalid.

For wipes and bulks:

Two swab samples should be collected per site. Area of collection is not necessary. Sterile swabs are available at Aerobiology upon request. Samples should be placed in a cooler with and ice pack and must reach the lab within 24 hrs of collection time .

References:

Eaton, Andrew D., Lenore S. Clesceri, Eugene W. Rice, Arnold E. Greenberg, Standard Methods for the    Examination of Water and Wastewater., 9-21 (2005).

Idexx laboratories, Inc, package insert, Enterolert TM test kit, 2008.

CPI International: Sept 2009, www.colitag.com

43760 Trade Center Place, Suite 100, Dulles, VA 20166 (703) 648-9150 Fax (703) 648-0963 e-mail: lab@aerobiology.net

4501 Circle 75 Parkway, Ste A1190, Atlanta GA 30339 (770) 947-2828 Fax (770) 947-2938 e-mail: ATL@aerobiology.net